《水污染控制工程（I）》教学大纲

一、基本信息

| 课程名称：水污染控制工程（I） | 英文课程名称：Water Pollution Control Engineering(I) |
| --- | --- |
| 课程代码：100307T021 | 总学分：2 |
| 总学时：32 | 理论学时：32 |
| 实验学时：0 | 上机学时：0 |
| 开课学院：工学院 | 适用专业：环境工程 |
| 课程性质：必修 | 先修课程：化工原理 |

二、课程简介

水污染控制工程（I）是环境工程专业的一门专业必修课。主要针对城市排水工程中废水和雨水的收集与排放，介绍排水系统的体制、组成、布置原理、水量计算、水力计算理论和方法，以及海绵城市建设技术方法。通过本课程的学习，使学生掌握排水管渠系统的基本概念、工程设计和规划的基础理论和方法，初步具备排水系统设计计算的能力。

三、教学目标

目标1：熟悉城镇排水系统体制和构筑物结构、功能；

目标2：具备排水管渠系统和泵站设计能力；

目标3：具有低影响开发（LID）理念，理解海绵城市建设原则，掌握多种海绵城市建设实施技术方法；

目标4：了解城镇排水工程规划主要任务和内容。

四、教学内容与学习要求

| 章节/教学单元 |  | 教学内容、重点、难点 | 学时 | 学习要求 |
| --- | --- | --- | --- | --- |
| 第一章 排水管渠系统 | 1.1 城镇排水系统的体制和组成 | 教学内容：排水系统的体制和组成。 教学重点：不同排水系统体制的优缺点 | 1 | 理解 综合分析 |
|  | 1.2 排水管渠及管渠系统上的构筑物 | 教学内容：排水管渠类型及其构筑物 教学重点：不同构筑物结构和功能 | 3 | 记忆 理解 |
| 第二章 排水管渠水力计算 | 2.1污水管渠水力设计原则 2.2管渠水力计算基本公式 | 教学内容：污水管渠水力设计原则和基本计算公式 | 1 |  |
|  | 2.3水力学算图 | 教学内容：水力学算图及其应用 教学重点和难点：圆形管道水力学算图的应用 | 1 | 应用 |
|  | 2.4管渠水力设计主要参数 | 教学内容：管渠水力设计主要参数：设计充满度、设计流速、最小管径、坡度和埋深 | 1 | 理解 应用 |
|  | 2.5管段的衔接 | 教学内容：管段衔接的原则和衔接方法 教学重点：管段衔接方法 | 1 | 理解 应用 |
|  | 2.6管段和倒虹管水力计算 | 教学内容： 管段水力计算； 倒虹管水力计算 重点：管段水力计算 难点：管段水力计算 | 2 | 理解 应用 综合分析 |
| 第三章 污水管道系统的设计 | 3.1污水设计流量的确定 | 教学内容： 生活污水设计流量的确定； 工业废水设计流量的确定 教学重点：生活污水和工业废水设计流量的确定 | 1 | 应用 |
|  | 3.2污水管道系统的平面布置 3.3管道在街道上的位置 | 教学内容： 污水管道系统的平面布置； 管道在街道上的位置 教学重点： 污水厂、出水口和泵站位置确定，污水管道系统的路线 难点：污水管道系统的路线 | 1 | 理解 应用 综合分析 |
|  | 3.4污水管道的水力设计 3.5管道施工图绘制 | 教学内容： 污水管道的水力设计； 管道施工图绘制 教学重点和难点： 污水管道的水力设计 | 2 | 应用 |
| 第四章 城镇雨水管渠的设计 | 4.1雨水径流量的计算 4.2雨水管渠的设计 | 教学内容： 雨水径流量的计算； 雨水管渠设计原则、准则和平面布置； 雨水管道水力设计； 立体交叉道路排水 教学重点和难点：雨水管道水力设计 | 3 | 理解 应用 |
|  | 4.3合流管道系统 | 教学内容： 合流管道系统的适用条件与布置特点； 合流污水水质与截流倍数； 我国合流管道情况； 截流式合流管道的水力计算 教学重点和难点： 截流式合流管道的水力计算 | 3 | 应用 |
|  | 4.4城镇防洪 | 教学内容： 设计防洪标准； 设计洪水量和潮位的估算； 提防与防洪沟工程 | 1 | 理解 |
|  | 4.5海绵城市建设 | 教学内容： 海绵城市建设背景、内涵和功能要求； 海绵城市建设实施技术方法； 区域海绵城市规划； 雨水径流面源污染； 雨水调蓄设施； 雨水资源化利用 教学重点和难点：海绵城市建设实施技术方法 | 4 | 理解 应用 综合分析 |
| 第五章 排水泵站的设计 | 5.1常用排水泵 5.2污水泵站设计 | 教学内容： 排水泵站功用； 常用排水泵工作特性； 引水设备； 污水泵站设计 教学重点： 排水泵站设计 | 3 | 记忆 应用 |
|  | 5.3雨水泵站设计 5.4排水泵站水力计算 | 教学内容： 雨水泵站设计； 排水泵站水力计算 教学重点和难点： 排水泵站水力计算 | 2 | 应用 |
| 第八章 城镇排水工程的规划 | 8.1城镇排水工程规划原则 8.2城镇排水工程规划的主要任务与内容 | 教学内容： 城镇排水工程规划原则 城镇排水工程规划的基本规定 污水系统规划； 雨水系统规划； 监控与预警； 绘制排水工程规划图和工程概算 教学重点： 污水系统规划； 雨水系统规划 | 1 | 理解 综合分析 |

注：在“学习要求”一栏补充选项，可以多选，无要求可不填，也可自定要求。记忆，指能从记忆库中找到相关的知识、概念、术语或材料与当前的信息进行比较、确认，能记住并能不加理解的列出、描述这些知识、概念、术语或材料；理解，指能对所学的内容作归纳、分类、解释、总结、推断和一定程度的发挥；应用，指能选择正确的程序应用、实施所学到的内容，并能进行必要的计算或决断；综合分析，指能将所学的内容分解并找出它们的相互关系和构成，或能计划、创造、建造、有改变的重构，或能作评论、总结、估计、预测、评估、论证和答辩。

五、教学方法

教学环节包括课堂讲授和讨论、课堂测试和作业。

1．课堂讲授

采用多媒体并辅以板书教学。课堂讲授贯彻启发式教学模式，着重讲清楚基本概念、分析问题的思路和方法，并配以适当的讨论，培养学生具有独立的分析问题和解决问题的能力。

选择合适的章节实验“翻转课堂”等教学模式。

2．课堂测试

按照知识点和能力点要求，安排相关计算作业题目，要求学生独立完成，以加深学生对所学知识的理解。

3．作业

按照知识点和能力点要求，安排各章节作业题目，要求学生独立完成，以加深学生对所学知识点的理解，培养学生查阅规范文献的能力以及设计计算能力。

六、考核方式

| 是否排考 | 是 |
| --- | --- |
| 考核形式 | 笔试（闭卷） |
| 成绩评定方式 | 百分制 |
| 过程成绩/% | 60 |
| 实验成绩/% | 0 |
| 结课考试成绩/% | 40 |

七、教材与参考书

（一）教材

《水污染控制工程（上册）》，第5版，高廷耀等，高等教育出版社，2023年，ISBN：9787040600544。

（二）参考书目或文献

［1］《给水排水管网系统》, 第4版，刘遂庆，中国建筑工业出版社，2021，ISBN：9787112048274。

［2］《排水工程（上册）》, 第4版，孙慧修，中国建筑工业出版社，2011，ISBN：9787112038954。

|  | 制定人：（课程负责人） |
| --- | --- |
|  | 审核人：（开课系主任） |
|  | 制（修）订时间：2023年9月 |

《Water Pollution Control Engineering(I)》Syllabus

I. Basic Information

| Course Name: Water Pollution Control Engineering(I) | Name in Chinese: 水污染控制工程(I) |
| --- | --- |
| Course No.: 100307T021 | Total Credits: 2 |
| Total Hours: 32 | Lecture Hours: 32 |
| Lab Hours: | Computer Lab Hours: |
| Offering College: Engineering College | Corresponding Majors: Environmental Engineering |
| Course Type: Required | Prerequisite: Principle of Chemical Engineering |

II. Course Introduction

Water Pollution Control Engineering (I) is a compulsory course for the environmental engineering major. Mainly focusing on the collection and discharge of wastewater and rainwater in urban drainage engineering, the course introduces the system, composition, layout principle, water quantity calculation, hydraulic calculation theory and methods of the drainage system, as well as the construction technology and methods of the Sponge City. Through the study of the course, students will master the basic concepts, engineering design, and planning theories and methods of drainage pipe and canal systems, and have a preliminary ability to design and calculate drainage systems.

III. Course Objective

Goal 1: to familiarize with the urban drainage system, structure, and function of structures;

Goal 2: to possess the ability to design drainage systems and pumping stations;

Goal 3: to possess the concept of Low Impact Development (LID), understand the principles of sponge city construction, and master various technical methods for implementing sponge city construction;

Goal 4: to understand the main tasks and contents of urban drainage engineering planning.

IV. Contents and Requirements

| Chapter/Unit |  | Contents and Key Points | hrs | Requirements |
| --- | --- | --- | --- | --- |
| Chapter 1 Drainage pipe and canal system | 1.1 System and Composition of Urban Drainage System | Teaching Content: System and Composition of Drainage System. Teaching focus: Advantages and disadvantages of different drainage system systems | 1 | understanding comprehensive analysis |
|  | 1.2 Drainage Pipes and Structures on the Pipe Canal System | Teaching Content: Types of Drainage Pipes and Structures Teaching focus: Different structures and functions | 3 | memory understanding |
| Chapter 2 Hydraulic calculation of drainage pipes and channels | 2.1 Hydraulic design principles for sewage pipes and channels 2.2 Basic formula for hydraulic calculation of pipes and channels | Teaching content: Hydraulic design principles and basic calculation formulas for sewage pipes and channels | 1 | understanding |
|  | 2.3 Hydraulic calculation diagram | Teaching content: Hydraulic calculation charts and their applications Teaching focus and difficulty: Application of hydraulic calculation diagrams for circular pipelines | 1 | application |
|  | 2.4 Main parameters for hydraulic design of pipes and channels | Teaching content: Hydraulic design of pipes and channels. Main parameters: design fullness, design flow velocity, minimum pipe diameter, slope, and burial depth | 1 | understanding application |
|  | 2.5 Connection of pipeline sections | Teaching content: Principles and methods of pipeline segment connection Teaching focus: Methods of connecting pipe sections | 1 | understanding application |
|  | 2.6 Hydraulic calculation of pipe sections and inverted siphons | Teaching content: Hydraulic calculation of pipeline sections; Hydraulic calculation of inverted siphon Teaching focus: Hydraulic calculation of pipe sections Teaching difficulty: Hydraulic calculation of pipe sections | 2 | understanding application comprehensive analysis |
| Chapter 3 Design of sewage pipeline system | 3.1 Determination of sewage design flow rate | Teaching content: Determination of the design flow rate of domestic sewage; Determination of design flow rate for industrial wastewater Teaching focus: Determination of design flow rate for domestic and industrial wastewater | 1 | application |
|  | 3.2 Layout Plan of Sewage Pipeline System 3.3 Location of pipelines on the street | Teaching content: Plan layout of sewage pipeline system; The location of the pipeline on the street Teaching focus: Determine the location of sewage plants, water outlets, and pump stations, and route the sewage pipeline system Difficulty: Route of sewage pipeline system | 1 | understanding application comprehensive analysis |
|  | 3.4 Hydraulic design of sewage pipelines 3.5 Drawing of Pipeline Construction Drawings | Teaching content: Hydraulic design of sewage pipelines; Preparation of pipeline construction drawings Teaching focus and difficulty: Hydraulic design of sewage pipelines | 2 | application |
| Chapter 4 Design of urban rainwater pipes and channels | 4.1 Calculation of rainwater runoff 4.2 Design of rainwater pipes and channels | Teaching content: Calculation of rainwater runoff; Design principles, guidelines, and layout of rainwater pipes and channels; Hydraulic design of rainwater pipelines; Drainage of interchange roads Teaching focus and difficulty: Hydraulic design of rainwater pipelines | 3 | understanding application |
|  | 4.3 Combined Pipeline System | Teaching content: Applicable conditions and layout characteristics of confluence pipeline systems; Combined sewage quality and interception ratio; The situation of confluence pipelines in China; Hydraulic calculation of intercepted confluence pipelines Teaching focus and difficulty: Hydraulic calculation of intercepted confluence pipelines | 3 | application |
|  | 4.4 Urban Flood Control | Teaching content: Design flood control standards; Estimation of design flood volume and tide level; Prevention and flood control ditch engineering | 1 | understanding |
|  | 4.5 Sponge City Construction | Teaching content: Background, connotation, and functional requirements of sponge city construction; Technical methods for implementing sponge city construction; Regional sponge city planning; Surface source pollution of rainwater runoff; Rainwater storage facilities; Rainwater resource utilization Teaching focus and difficulty: Technical methods for implementing sponge city construction | 4 | understanding application comprehensive analysis |
| Chapter 5 Design of drainage pump station | 5.1 Common drainage pumps 5.2 Design of sewage pumping station | Teaching content: Function of drainage pump station; Operating characteristics of commonly used drainage pumps; Water diversion equipment; Design of sewage pumping station Teaching focus: Design of drainage pump station | 3 | memory application |
|  | 5.3 Design of rainwater pump station 5.4 Hydraulic calculation of drainage pump station | Teaching content: Design of rainwater pumping station; Hydraulic calculation of drainage pump station Teaching focus and difficulties: Hydraulic calculation of drainage pump station | 2 | application |
| Chapter 8 Planning of urban drainage engineering | 8.1 Planning principles for urban drainage engineering | Teaching content: Appreciation of Traditional Drainage Measures in Old Cities of China; Planning principles for urban drainage engineering | 0.5 | understanding comprehensive analysis |
|  | 8.2 Main Tasks and Content of Urban Drainage Engineering Planning | Teaching content: Basic regulations for urban drainage engineering planning Sewage system planning; Rainwater system planning; Monitoring and early warning; Draw drainage engineering planning drawings and engineering estimates Teaching focus: Sewage system planning; Rainwater system planning | 1.5 | understanding application |

V. Teaching Method

The teaching process includes classroom lectures and discussions, classroom tests and coursework.

1. Classroom teaching

Adopting multimedia and supplemented with blackboard writing teaching. Classroom teaching implements the heuristic teaching model, emphasizing the clarification of basic concepts, analytical thinking and methods, and accompanied by appropriate discussions, to cultivate students' independent ability to analyze and solve problems.

Also we will choose some appropriate chapters for the "flipped classroom" model experiment .

2. Classroom testing

According to the requirements of knowledge and ability points, arrange relevant calculation homework questions and require students to independently complete them to deepen their understanding of the knowledge they have learned.

3. Coursework

According to the requirements of knowledge points and ability points, assign coursework for each chapter and require students to independently complete them, in order to deepen their understanding of the knowledge points learned, cultivate their ability to access standardized literature, and design calculation skills.

VI. Evaluation

| Need to schedule exam | Yes |
| --- | --- |
| Assessment Form | Written Examination (Closed-book) |
| Score evaluation method | 100 point system |
| Process Score/% | 60 |
| Experimental score/% | 0 |
| Final Exam Score/% | 40 |

VII. Textbook and Reference

(1) Textbook

Water Pollution Control Engineering (Volume 1), 5th Edition, Gao Tingyao et al., Higher Education Press, 2023, ISBN: 9787040600544.

(2) Reference

[1] Water Supply and Drainage Network System, 4th Edition, Liu Suiqing, China Construction Industry Press, 2021, ISBN: 9787112048274.

[2] Drainage Engineering (Volume 1), 4th Edition, Sun Huixiu, China Construction Industry Press, 2011, ISBN: 9787112038954.