《可编程控制器原理及应用》教学大纲

一、基本信息

| 课程名称：可编程控制器原理及应用 | 英文课程名称：The Principle & Application of Programmable Logic Controller |
| --- | --- |
| 课程代码：100408D011 | 总学分：2 |
| 总学时：32 | 理论学时：20 |
| 实验学时：12 | 上机学时：0 |
| 开课学院：工学院 | 适用专业：自动化 |
| 课程性质：选修 | 先修课程：电路分析，电工电子学，数字电子 |

二、课程简介

（中文300-500字，对课程性质、总体教学目标、主要教学内容、在人才培养过程（培养方案）中的地位及作用等做简要介绍。）

可编程控制器PLC作为一种现代的新型工业控制装置，具有功能强、可靠性高、标准化程度高等一系列显著优点。它不仅可以取代传统继电器控制系统，还能像微型计算机一样具有数字运算、数据处理、模拟量调节、运动控制、闭环控制、以及网络通信等功能，在工业自动化控制中具有极其重要的地位。

本课程是高等院校机电类专业的一门重要技术基础课，也是一门实验操作性较强的课程。本课程以目前应用广泛的罗克韦尔Micro800系列PLC为主，从应用角度讲授了PLC控制系统的基本工作原理、硬件知识、常见指令、梯形图程序设计方法及应用实例等。系统地阐述了CCW编程环境、梯形图编程方式、工业互联网、工业触摸屏、工业变频器、步进电机同步带、交流电机滚珠丝杠、编码器、高速计数器、定时器等。通过设计实例，介绍PLC控制系统的开发方法和技巧。

三、教学目标

（根据课程性质，写明学生通过学习该课程在知识、能力、素质等方面应达到的具体目标，学生应掌握的4-6项最重要的知识或技能。）

通过课堂教学和实验环节的培养，使学生了解罗克韦尔Micro800系列PLC的内部结构和工作原理，掌握PLC梯形图程序设计及开发调试流程。了解工业电气控制系统的软、硬件设计方法，并能综合运用可编程控制器技术分析解决实际问题，为开发工业生产、科学研究和石油化工等领域的自动控制系统打下良好的基础，也为进一步学习单片机和机器人技术等做好知识储备。

目标1：掌握Micro850工作原理、输入输出端口接线、常用电路元器件；

目标2：掌握CCW梯形图程序设计及调试方法、开发流程、I/O配置、扩展模块配置；

目标3：掌握梯形图常用数据类型、常用指令、定时器、计数器、高速计数器等；

目标4：掌握编码器数据读取、Micro850通过PTO对步进电机进行控制；

目标5：掌握工业触摸屏PanelView800的组态以及通过工业互联网发送和采集数据；

目标6：掌握工业变频器PowerFlex525的组态以及相应控制功能块的应用。

四、教学内容与学习要求

（可按章节顺序或教学单元顺序编写，要详细说明具体教学内容、教学重点和难点，应清楚地表达知识、技能的范围和深度，充分反映课程的知识和技能要求，体现课程特点。）

| 章节/教学单元 |  | 教学内容、重点、难点 | 学时 | 学习要求 |
| --- | --- | --- | --- | --- |
| 第一章 | 可编程控制器概述和常用低压电器 | 介绍本门课程总体框架，学习方法，以及学习本门课程的重要意义。介绍可编程控制器PLC的工作原理，主要特点及分类，应用领域以及发展概况，PLC和单片机的区别，常用的低压电路元器件。 | 2 | 记忆 理解 |
| 第二章 | 基本电气控制电路 | 主要介绍绘制和阅读电气控制系统电路图，三相异步电机的全压起动，降压启动，长动，点动，顺序启动，正反转控制。 (1)重点：三相异步电机的工作原理，自锁和互锁的概念，阅读电气控制系统电路图； (2)难点：变频调速的原理和保护电路的设计。 | 2 | 记忆 理解 应用 |
| 第三章 | Micro850控制器硬件 | 主要介绍Micro850控制器硬件特性，I/O配置，功能性插件和扩展插件组态，工业互联网通信。 （1）重点:PLC的基本功能和种类，数字输入输出，模拟输入，Micro850硬件电路接线 （2）难点:功能性插件和扩展插件组态 | 2 | 记忆 理解 应用 |
| 第四章 | Micro800系列控制器指令系统 | 主要介绍Micro800系列控制器的常用指令，常用数据类型，以及如何阅读罗克韦尔官方提供的用户手册和指令手册。 （1）重点:梯级的概念，数据类型，定时器指令，计数器指令，高速计数器HSC指令 （2）难点:阅读罗克韦尔官方数据手册，培养工程师独立解决问题的能力 | 2 | 记忆 理解 应用 综合分析 |
| 第五章 | CCW软件介绍及PLC程序设计 | 主要介绍罗克韦尔Connected Components Workbench编程软件的使用，梯形图应用程序的开发调试流程，功能流程图。 (1)重点:CCW梯形图程序的开发流程，功能流程图的绘制与阅读 （2）难点:根据功能流程图进行程序设计 | 2 | 记忆 理解 应用 |
| 第六章 | 工业触摸屏组态与编程 | 主要介绍PanelView 800触摸屏的组态，Ethernet Allen-Bradley CIP工业互联网的设置，触摸屏界面程序的创建。 (1)重点:PanelView 800触摸屏的组态，界面程序的编写，以及和Micro850的通信 （2）难点:触摸屏和Micro850的通信 | 2 | 记忆 理解 应用 |
| 第七章 | 步进电机与同步带 | 主要介绍步进电机的控制方式，步进电机驱动器，以及和电机控制相关的梯形图指令。 (1)重点:步进电机控制方式，步进电机控制指令，触摸屏控制步进电机 (2)难点：编写包含步进电机，工业触摸屏的梯形图程序。 | 4 | 记忆 理解 应用 综合分析 |
| 第八章 | PowerFlex525变频器与滚珠丝杠控制 | 主要介绍PowerFlex525变频器的组态，滚珠丝杠的控制原理，交流电机的变频调速。 （1）重点:开发过程;开发工具;开发方法 （2）难点:硬件设计;软件设计 | 4 | 记忆 理解 应用 综合分析 |

实验内容

| 序号 | 实验项目名称 | 主要内容 | 主要仪器名称 | 仪器台套数 | 每组人数 | 实验类型 | 实验类别 | 学时 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | 安全准入教育 | 介绍罗克韦尔专用综合工控柜，工控机，以及用电安全 | 罗克韦尔专用综合工控柜 | 30 | 3-4 | 演示性 | 专业实验 | 2 |
| 2 | CCW组态及梯形图开发流程 | 介绍洛克韦尔公司的PLC软件开发环境CCW，演示PLC梯形图的开发调试流程 | 罗克韦尔专用综合工控柜 | 30 | 3-4 | 演示性 | 专业实验 | 2 |
| 3 | 流水灯 | 编写流水灯梯形图程序，下载程序到Micro850控制器，实现依次点亮O-11到O-18共8个灯，两盏灯的点亮间隔相差1秒，然后重复上述过程。 | 罗克韦尔专用综合工控柜 | 30 | 3-4 | 设计性 | 专业实验 | 2 |
| 4 | 交通灯 | 编写交通灯梯形图程序，设定O-11，O-12，O-13为东西向交通灯；设定O-15，O-16，O-17为南北向交通灯；绿灯点亮时间25s，绿灯闪烁时间3s，绿灯熄灭，然后黄灯点亮2秒后熄灭，最后点亮红灯30s，无限循环上述点灯流程。 | 罗克韦尔专用综合工控柜 | 30 | 3-4 | 设计性 | 专业实验 | 2 |
| 5 | 同步带 | 使用CCW配置PTO和HSC，编写梯形图和触摸屏控制程序，实现步进电机同步带的启停，前进后退，运行到指定的相对位置和绝对位置 | 罗克韦尔专用综合工控柜 | 30 | 3-4 | 设计性 | 专业实验 | 2 |
| 6 | 滚珠丝杠 | 使用CCW配置HSC，导入PowerFlex525控制功能块，编写梯形图和触摸屏控制程序，实现交流电机滚珠丝杠的启停，前进后退，运行到指定的相对位置和绝对位置 | 罗克韦尔专用综合工控柜 | 30 | 3-4 | 设计性 | 专业实验 | 2 |

注：实验类型指演示性、验证性、综合性、设计性、创新性。实验类别指基础实验、专业基础实验、专业实验。

五、教学方法

概述本课程教学方法，必要时可按章节/教学单元注明。

教学方法包括理论知识讲授、课堂讨论、自学、上机课、答疑。

六、考核方式

平时出勤、作业、实验报告占30%，实验出勤、现场验收情况占30%，闭卷期末考试占40%。

| 是否排考 | 是 |
| --- | --- |
| 考试形式 | 笔试（闭卷） |
| 成绩评定方式 | 百分制 |
| 过程成绩/% | 30% |
| 实验成绩/% | 30% |
| 结课考试成绩/% | 40% |

七、教材与参考书

（一）教材

《电气控制及PLC技术--罗克韦尔Micro800系列》，第一版，王欣，机械工业出版社，2022，ISBN：9787111638681。

（二）参考书目或文献

《PLC原理与应用--罗克韦尔Micro800系列》，第一版，于金鹏、张良、何文雪等，机械工业出版社，2016年，ISBN：9787111548645。

|  | 制定人：（课程负责人）刘承坤 |
| --- | --- |
|  | 审核人：（开课系主任）闫景富 |
|  | 制（修）订时间：2024年8月 |

《The Principle & Application of Programmable Logic Controller》Syllabus

I. Basic Information

| Course Name: The Principle & Application of Programmable Logic Controller | Name in Chinese: 可编程控制器原理及应用 |
| --- | --- |
| Course No.: 100408D011 | Total Credits: 2 |
| Total Hours: 32 | Lecture Hours: 20 |
| Lab Hours: 12 | Computer Lab Hours: 0 |
| Offering College: College of Engineering | Corresponding Majors: Automation |
| Course Type: Elective | Prerequisite: circuit analysis, electrical and electronics, digital electronics |

II. Course Introduction

As a modern new industrial control device, programmable logic controller PLC has a series of significant advantages such as strong functionality, high reliability, and high degree of standardization. It can not only replace the traditional relay control system, but also have the functions of digital calculation, data processing, motion control, closed-loop control, and network communication. It plays an extremely important position in industrial automation control.

This course is an important fundamental course for mechanical and electrical majors in colleges, and it is also a course requires a lot of practical experimental skills. This course focuses on the widely used Rockwell Micro800 series PLC. It teaches the basic working principles, hardware knowledge, common instructions, and ladder diagrams. Systematically explains the CCW programming environment, ladder diagram programming method, industrial internet, industrial touch screen, industrial inverter, stepper motor synchronous belt, AC motor ball screw, encoder, high-speed counter, timer, etc. The development methods and techniques are introduced through practical design examples.

III. Course Objective

Through classroom teaching and experimental training, students can understand the internal structure and working principle of Rockwell Micro800 series PLC, and master the PLC ladder diagram programming, development and debugging procedure. Understand the software and hardware design methods of industrial electrical control systems and be able to comprehensively use programmable controller technology to analyze and solve practical problems, laying a good foundation for the development of automatic control systems in industrial production, scientific research, petrochemical and other fields. Preparing students for future learning of microcontrollers and robotics technology.

Objective 1: Master the working principle of Micro850, input and output port wiring, and circuit components.

Objective 2: Master CCW ladder diagram programming and debugging methods, development procedure, I/O configuration, and expansion module configuration.

Objective 3: Master common data types, common instructions, timers, counters, high-speed counters, etc.

Objective 4: Master encoder data reading, stepper motor control through PTO;

Objective 5: Master the configuration of industrial touch screen PanelView800, send and collect data through the industrial internet.

Objective 6: Master the configuration of variable frequency drive PowerFlex525 and its corresponding control functional block.

IV. Contents and Requirements

| Chapter/Unit |  | Contents and Key Points | hrs | Requirements |
| --- | --- | --- | --- | --- |
| Chapter 1 | Introduction of programmable logical controller and commonly used low-voltage components | Introduce the overall framework of this course, learning methods, and the importance of learning this course. Introduce PLC’s working principle, main characteristics，classification, and application fields. Review the difference between PLC and microcontroller, and commonly used low-voltage components. | 2 | Comprehension Application |
| Chapter 2 | Introduction of electrical control circuits | Introduce the drawing and reading electrical control system circuit diagrams, full voltage starting, reduced voltage starting, long-running, inching, sequential starting, forward and reverse control of three-phase asynchronous motors. (1) Key points: the working principle of three-phase asynchronous motor, the concepts of self-locking and interlocking, and reading the electrical control system circuit diagram (2) Difficulty: the principle of variable frequency speed regulation and the design of the protection circuit. | 2 | Memory Comprehension Application |
| Chapter 3 | Micro800 series controller hardware circuit design | Introduce the Micro850 controller hardware features, I/O configuration, functional plug-in and expansion plug-in configuration, and Industrial Internet communication. (1) Key points: Different types of PLC and its application scenarios, digital input and output, analog input, Micro850 hardware circuit design (2) Difficulty: Functional plug-in and extension plug-in configuration. | 2 | Memory Comprehension Application |
| Chapter 4 | Micro800 series controller instruction set | Introduces the common instructions and common data types of Micro800 series controllers, and how to read Rockwell user manual and instruction manual provided. (1) Key point: Rungs, data types, timer, counter, high-speed counter HSC (2) Difficulty: Be able to read Rockwell datasheet and solve engineering problem independently | 2 | Memory Comprehension Application Comprehensive Analysis |
| Chapter 5 | Introduction of Connected Components Workbench and Ladder Diagram programming | Introduce the use of Rockwell Connected Components Workbench programming software, the development and debugging process of ladder diagram program, and functional flow charts.. (1) Key points: Ladder Diagram development procedure of CCW, drawing and reading functional flow chart (2) Difficulty: Ladder Diagram design based on functional flow chart. | 2 | Memory Comprehension Application |
| Chapter 6 | Industrial touch screen configuration and programming | Introduces the configuration of PanelView 800 touch screen, the setting of Ethernet Allen-Bradley CIP Industrial Internet, and the creation of touch screen interface program. (1) Key points: Configuration of PanelView 800 touch screen, writing of interface program, and communication with Micro850 (2) Difficulty: Communication between touch screen and Micro850 | 2 | Memory Comprehension Application |
| Chapter 7 | Step motor and timing belt | Introduce the control methods of stepper motors, stepper motor drivers, and ladder diagram instructions related to motor control. (1) Key points: Stepper motor control method, stepper motor control instructions, touch screen control stepper motor (2) Difficulty: Write ladder diagram programs to control stepper motor and industrial touch screen. | 4 | Memory Comprehension Application Comprehensive Analysis |
| Chapter 8 | PowerFlex525 variable frequency drive and control of the ball screw | Introduce the configuration of the PowerFlex525, the control principle of the ball screw, and the variable frequency drive of the AC motor. (1) Key points: development process; Development tools; development method (2) Difficulty: Hardware design; software design | 4 | Memory Comprehension Application Comprehensive Analysis |

Lab Contents

| No. | Project | Contents | Apparatus | Units | Students/Group | Lab Type | Lab Category | hrs |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | Safety admittance education | Introducing Rockwell’s comprehensive industrial control cabinets, industrial computers, and electrical safety | Rockwell Automation Comprehensive Industrial Control Cabinet | 30 | 3-4 | Demonstration | Professional | 2 |
| 2 | CCW configuration and ladder diagram development procedure | Introduce Rockwell's PLC software development environment CCW and demonstrate the development and debugging procedure of PLC ladder diagram | Rockwell Automation Comprehensive Industrial Control Cabinet | 30 | 3-4 | Demonstration | Professional | 2 |
| 3 | Flowing Light | Write a running water lamp ladder diagram program, download the program to the Micro850 controller, and light up a total of 8 lamps from O-11 to O-18 in sequence. The lighting interval of the two lamps differs by 1 second, and then repeat the above process. | Rockwell Automation Comprehensive Industrial Control Cabinet | 30 | 3-4 | Design | Professional | 2 |
| 4 | Traffic Light | Write a traffic light ladder diagram program, set O-11, O-12, and O-13 as east-west traffic lights; set O-15, O-16, and O-17 as north-south traffic lights; the green light lighting time is 25 seconds , the green light flashes for 3 seconds, the green light goes out, then the yellow light lights up for 2 seconds and then goes out, and finally the red light lights up for 30 seconds, endlessly looping the above lighting process. | Rockwell Automation Comprehensive Industrial Control Cabinet | 30 | 3-4 | Design | Professional | 2 |
| 5 | Timing Belt | Use CCW to configure PTO and HSC, write ladder diagram and touch screen control program to realize the start and stop of the stepper motor synchronous belt, forward and backward, and run to the specified relative position and absolute position | Rockwell Automation Comprehensive Industrial Control Cabinet | 30 | 3-4 | Design | Professional | 2 |
| 6 | Ball Screw | Use CCW to configure HSC, import the PowerFlex525 control function block, write ladder diagram and touch screen control program to realize the start and stop of the AC motor ball screw, forward and backward, and run to the specified relative position and absolute position. | Rockwell Automation Comprehensive Industrial Control Cabinet | 30 | 3-4 | Design | Professional | 2 |

V. Teaching Method

The teaching methods include theoretical knowledge lectures, classroom discussions, self-learning, lab contents, computer lab contents, and Q&A.

VI. Evaluation

Assessment methods include attendance, assignments, class performance, experimental performance, and final exams.

Total score = final exam 40% + attendance, homework and class performance 30% + Experimental score 30%.

Attendance score is given according to class attendance and performance, and homework score is given according to the completion of students' homework in the form of assignment.

The final grade will account for 40% of the total grade. An in-class close-book exam will be adopted, with a full mark of 100. Questions will include fill-in-the-blank questions, short answer questions and subjective statement questions.

| Is the exam scheduled | Yes |
| --- | --- |
| Examination form | Written Examination (Close Book) |
| Evaluation method | Percentage |
| Process score /% | 30% |
| Experimental score /% | 30% |
| Final Exam score /% | 40% |

VII. Textbook and Reference

(1) Textbook

Xin Wang. Electrical Control and PLC Technology--Rockwell Micro800 Series (1st Ed.). China Machine Press, 2022, ISBN: 9787111638681.

(2) Reference

Jinpeng Yu. PLC Principles and Applications--Rockwell Micro800 Series (1st Ed.). China Machine Press, 2016, ISBN: 9787111548645.