《化工自动化与智能化》教学大纲

一、基本信息

| 课程名称：化工自动化与智能化 | 英文课程名称: Chemical automation and intelligence |
| --- | --- |
| 课程代码：160305T034 | 总学分：2 |
| 总学时：32 | 课内学时：32 |
| 实验学时：0 | 上机学时：0 |
| 开课学院：工学院 | 适用专业：化学工程与工艺、能源与化工 |
| 课程性质：选修 | 先修课程：高等数学、化工原理 |

二、课程简介

化工自动化与智能化课程是石油化工行业工艺相关专业本科生的一门专业选修课程，化工自动化技术被广泛应用于石油、化工、电力、冶金等行业，是现代化工生产实现高效、优质、安全、低耗的基本条件和保证，是管理和开发现代生产过程所必须具备的技能。化工自动化与智能化主要是针对温度、压力、流量、物位的检测和控制知识进行学习，将自动控制、仪器仪表、计算机相关技术服务于化学工程。通过本课程的学习，使学生了解化工自动化基础知识；理解自动控制系统组成、原理及各环节的作用；能根据工艺要求与自控设计人员共同提出合理的控制方案，在工艺设计和技术改造中综合考虑工艺与控制两个方面。为今后解决生产工艺和科学研究遇到的各类自动控制问题打下坚实基础。

该课程的教学内容主要包括控制系统的组成、原理等基础知识，流程工艺对象的基本特性及其对控制质量的影响，工艺参数仪表测量原理、选型要求，单回路控制系统和复杂控制系统设计与应用、DCS集散控制系统软、硬组成，数据挖掘在化工行业上的应用等。

三、教学目标

（根据课程性质，写明学生通过学习该课程在知识、能力、素质等方面应达到的具体目标，学生应掌握的4-6项最重要的知识或技能。）

目标1：掌握常规过程检测仪表（温、压、流、液位）测量原理和选型计算；

目标2：掌握可编程调节器体系结构以及PID运输模块功能；

目标3：掌握气动执行机构结构和工作原理；

目标4：能完成单回路控制系统工程设计；

目标5：能完成串级、前馈、比值、分程与选择控制方案设计；

目标6：掌握DCS集散控制系统软、硬件系统构成。

四、教学内容与学习要求

| 章节/教学单元 |  | 教学内容、重点、难点 | 学时 | 学习要求 |
| --- | --- | --- | --- | --- |
| 第一章 自动控制系统基本概念 | 1.1化工自动化的主要内容 | 了解化工自动在流程工业中的作用； 了解化工过程自动化实现的主要功能。 | 1 | 理解 |
|  | 1.2自动控制系统的基本组成及表现形式 | 了解化工过程自动控制系统组成； 掌握自动控制系统的方框图设计； 掌握管道、仪表流程图（P&ID）设计（重点）。 | 1 | 理解 应用 |
|  | 1.3 自动控制系统的分类 | 了解定值控制系统、随动控制系统、程序控制系统的特点。 | 0.5 | 理解 |
|  | 1.4自动控制系统的过渡过程和品质指标 | 了解控制系统的静态和动态过程（难点）； 了解阶跃扰动下过渡过程的4种基本形式； 掌握控制系统控制质量评价指标（重点）。 | 1.5 | 记忆 理解 |
| 第二章 过程特性及其数学模型 | 2.1化工过程的特点及其描述方法 | 理解被控对象特性对控制质量的影响； 了解被控对象建模的定义； 理解非参量模型和参量模型的特点。 | 0.5 | 理解 |
|  | 2.2 对象数学模型的建立 | 了解被控对象数学建模的目的； 掌握机理法建模过程（重点）； 了解实验法建模的测取方法。 | 1 | 理解 |
|  | 2.3 描述对象特性的参数 | 了解放大系数、时间常数、滞后时间的定义及对控制系统的影响 | 0.5 | 理解 |
| 第三章 检测仪表与传感器 | 3.1 概述 | 了解测量误差相关定义； 了解自动化仪表的性能指标。 | 1 | 理解 |
|  | 3.2 压力检测及仪表 | 掌握压力变送器测量原理、选型、安装。 | 1 | 理解 应用 |
|  | 3.3 流量检测及仪表 | 了解流量的定义及表示方法； 了解流量计的分类及测量原理； 孔板流量计、电磁流量计的选型和安装。 | 1 | 理解 应用 |
|  | 3.4 物位检测及仪表 | 了解物位检测的分类； 了解常见也为检测仪表的特性； 掌握压差式液位变送器工作原理及迁移计算； 了解电容式物位传感器、核辐射物位计、称重式液罐计量仪测量原理 | 1 | 理解 应用 |
|  | 3.5 温度检测及仪表 | 了解厂家温度仪表及性质； 了解膨胀式（双金属）温度计工作原理； 掌握热电偶测量原理及冷端补偿计算；（重点） 掌握热电阻温度计测量原理及查表计算。 | 2 | 理解 应用 |
|  | 3.8 安全仪表系统 | 了解安全仪表系统的概念及作用； 了解安全仪表系统的组成； 了解安全仪表的设计原则。 | 1 | 理解 |
| 第四章 自动控制仪表 | 4.1 概述 | 了解控制仪表在控制系统中的作用； 了解控制仪表的发展历程。 | 0.5 | 理解 |
|  | 4.2 基本控制规律及其对系统过渡过程的影响 | 了解基本控制规律的分类； 掌握双位控制的原理及调节过程； 掌握比例控制、积分控制、微分控制原理及调节过程。（重点） | 1.5 | 理解 应用 |
| 第五章 执行器 | 5.1 气动执行器 | 掌握气动执行器的工作原理、结构、分类； 理解阀门的理想流量特性和工作流量特性分析过程； 掌握结合实际工艺流程及介质特性选择调节阀合适的流量特性和气开、气关形式。 | 2 | 理解 应用 |
|  | 5.2 电动执行器 | 理解电动执行器的工作原理及特点。 | 1 | 理解 |
|  | 5.3 电-气转换器及电-气阀门定位器 | 理解机械式阀门定位器的工作原理及作用。 | 1 | 理解 |
| 第六章 简单控制系统 | 6.1 简单控制系统的结构与组成 | 了解简单控制系统的定义及结构组成； 了解简单控制系统的调节过程； 了解简单控制系统适用的控制过程。 | 0.5 | 理解 |
|  | 6.2 简单控制系统的设计 | 掌握被控变量的选择原则； 掌握操纵变量的选择方法； 了解测量元件特性对控制过程的影响； 掌握控制规律的选择原则。 | 1 | 理解 应用 综合分析 |
|  | 6.3 控制器参数整定 | 了解常见工程整定法的整定过程。 | 0.5 | 理解 |
| 第七章 复杂过程控制系统 | 7.1串级控制 | 串级控制系统的结构和工作过程； 串级控制系统的设计； 串级控制系统的工业应用。 | 2 | 理解 应用 |
|  | 7.2前馈控制 | 前馈控制系统相关概念； 前馈控制系统的结构； 前馈控制系统的工业应用。 | 1 | 理解 应用 |
|  | 7.3比值控制 | 常见的比值控制方案； 掌握双闭环比值控制系统的设计。 | 1 | 理解 应用 |
|  | 7.4分程控制 | 分程控制系统原理； 分程控制的工业应用。 | 1 | 理解 应用 |
| 第八章 新型控制系统 | 8.3 其他新型控制系统 | 了解专家控制系统概念； 了解模糊控制系统的结构； 了解机器学习在化工上的应用前景。 | 1 | 理解 |
| 第九章 计算机控制系统 | 9.1 概述 | 集散系统的组成。 | 0.5 | 理解 |
|  | 9.2 集散系统现场控制站 | 集散控制系统标准算法模块介绍； 逻辑和顺序控制。 | 0.5 | 理解 |
|  | 9.3集散控制系统操作员站和工程师站 | 操作员站和工程师站功能； 操作员站和工程师站软件。 | 1 | 理解 |

注：在“学习要求”一栏补充选项，可以多选，无要求可不填，也可自定要求。记忆，指能从记忆库中找到相关的知识、概念、术语或材料与当前的信息进行比较、确认，能记住并能不加理解的列出、描述这些知识、概念、术语或材料；理解，指能对所学的内容作归纳、分类、解释、总结、推断和一定程度的发挥；应用，指能选择正确的程序应用、实施所学到的内容，并能进行必要的计算或决断；综合分析，指能将所学的内容分解并找出它们的相互关系和构成，或能计划、创造、建造、有改变的重构，或能作评论、总结、估计、预测、评估、论证和答辩。

五、教学方法

概述本课程教学方法，必要时可按章节/教学单元注明。

本课程实行课堂讲授、自学、实验与研讨相结合的教学方法，达到教师精讲、学生宽学多练的学习目的，结合化学工程工艺相关过程控制进行讲解，强调理论联系实际，注重培养学生解决实际工程问题的能力。

六、考核方式

写明考核方式与分数构成。

总成绩100分，其中期末开卷考试占60%，过程评价占40%。

过程评价的成绩包括课堂考勤、课后作业及期中测验等。

七、教材与参考书

（一）教材

《化工仪表及自动化》，第6版，厉玉鸣主编，化学工业出版社，2019年5月出版，ISBN：978-7-122-33334-6。

（二）参考书目或文献

《过程装备控制技术及应用》，王毅，化学工业出版社，2018，第3版。

|  | 制定人：（课程负责人）古丽寨娜·哈布都拉 |
| --- | --- |
|  | 审核人：（开课系主任）赵旭亮 |
|  | 制（修）订时间：2024年8月 |

《 Chemical automation and intelligence》Syllabus

I. Basic Information

| Course Name: Chemical automation and intelligence | Name in Chinese: 化工自动化与智能化 |
| --- | --- |
| Course No.: 160305T034 | Total Credits: 2 |
| Total Hours: 32 | Lecture Hours: 32 |
| Lab Hours: 0 | Computer Lab Hours: 0 |
| Offering College: Engineering Institute | Corresponding Majors: Chemical Engineering and Processes |
| Course Type: Elective | Prerequisite: Advanced Mathematics、Principles of Chemical Engineering |

II. Course Introduction

Chemical automation and intelligence course is a professional elective course for undergraduates majoring in petrochemical industry. Chemical automation technology is widely used in petroleum, chemical industry, electric power, metallurgy and other industries, which is the basic condition and guarantee for modern chemical production to achieve high efficiency, high quality, safety and low consumption, and is a necessary skill for management and development of modern production process. This course is mainly aimed at the detection and control knowledge of temperature, pressure, flow and level, and will serve the chemical engineering with automatic control, instrumentation and computer-related technologies. Through the study of this course, students can understand the basic knowledge of chemical automation; Understand the composition, principle and function of the automatic control system; According to the process requirements, we can jointly propose a reasonable control scheme with the automatic control designer, and comprehensively consider the process and control in the process design and technical transformation. It lays a solid foundation for solving all kinds of automatic control problems encountered in production process and scientific research in the future.

The content of this course mainly includes the basic knowledge of the composition and principle of the control system, the basic characteristics of the process object and its impact on the control quality, the measurement principle and selection requirements of the process parameter instrument, the design and application of single loop control system and complex control system, the soft and hard composition of DCS distributed control system, and the application of data mining in the chemical industry.

III. Course Objective

1、Master the measurement principle and type selection calculation of conventional process detection instruments (temperature, pressure, flow and liquid level);

2、Master the system structure of Programmable Regulator and the function of PID transportation module;

3、Master the structure and working principle of pneumatic actuator;

4、Complete the engineering design of single loop control system;

5、The design of cascade, feedforward, ratio, split range and selection control scheme is completed;

6、Master the composition of software and hardware system of DCS.

IV. Contents and Requirements

| Chapter/Unit |  | Contents and Key Points | hrs | Requirements |
| --- | --- | --- | --- | --- |
| Chapter 1 Basic concept of automatic control system | 1.1 Main content of chemical automation | Understand the role of chemical automation in process industry; Understand the main functions of chemical process automation. | 1 | Comprehension |
|  | 1.2 The basic composition and manifestation of automatic control system | Understand the composition of chemical process automatic control system； Master the block diagram design of automatic control system； Master piping and instrument flow chart design. | 1 | Comprehension Application |
|  | 1.3 Classification of automatic control systems | Understand the characteristics of fixed value control system, servo control system and program control system | 0.5 | Comprehension |
|  | 1.4 Transition process and quality index of automatic control system | Understand the static and dynamic processes of control systems; Understand the 4 basic forms of transition process under step disturbance; Master the control quality evaluation index of the control system | 1.5 | Memory Comprehension |
| Chapter 2 Process characteristics and their mathematical models | 2.1The characteristics of chemical processes and their descriptive methods | Understand the influence of the characteristics of the controlled object on the quality of control; Understand the definition of controlled object modeling； Understand the characteristics of nonparametric models and parametric models. | 0.5 | Comprehension |
|  | 2.2 The establishment of object mathematical model | Understand the purpose of mathematical modeling of controlled object; Master the modeling process of mechanism method; Understand the measurement method of experimental modeling. | 1 | Comprehension |
|  | 2.3 Parameters that describe the characteristics of an object | Understand the composition and working principle of ddz-iii regulator; Understand the definition of amplification factor, time constant, lag time and their impact on control system. | 0.5 | Comprehension |
| Chapter 3 Measuring instruments and sensors | 3.1 Overview | Understand the definition of measurement error; Understand the performance indicators of automated instruments. | 1 | Comprehension |
|  | 3.2 Pressure detection and instrumentation | Master the measurement principle, selection and installation of pressure transmitter. | 1 | Comprehension Application |
|  | 3.3 Flow detection and instrumentation | Understand the definition and representation method of traffic; Understand the classification and measurement principle of flow meters; Orifice flow meter, electromagnetic flow meter selection and installation. | 1 | Comprehension Application |
|  | 3.4 Level detection and instrumentation | Understand the classification of object level detection; Understand the characteristics of the common instrument; Master the working principle and migration calculation of differential pressure level transmitter; Understand the measuring principle of capacitive level sensor, nuclear radiation level meter and weighing liquid tank meter. | 1 | Comprehension Application |
|  | 3.5 Temperature detection and instrument | Understand the manufacturer's temperature instrument and its nature; Understand the working principle of expansion type (bimetal) thermometer; Master the principle of thermocouple measurement and cold end compensation calculation; (Key point) Master the principle of thermal resistance thermometer measurement and table lookup calculation. | 1 | Comprehension Application |
|  | 3.8 Safety instrumented system | Understand the concept and function of safety instrument system; Understand the composition of safety instrument system; Understand safety instrument design principles. | 1 | Comprehension Application |
| Chapter 4 Automatic control instrument | - 4.1. Overview | - Understand the function of the control instrument in the control system; - Understand the development history of control instruments. | 0.5 | Comprehension |
|  | - 4.2. The basic control law and its influence on the system transition process | - Understand the classification of the basic control law; - Master the principle and adjustment process of double control; - Master the principle of proportional control, integral control, differential control and adjustment process. | 1.5 | Comprehension Application |
| Chapter 5 Actuator | - 5.1 Pneumatic actuator | Master the working principle, structure and classification of pneumatic actuators; Understand the ideal flow characteristics of the valve and the analysis process of the working flow characteristics; Master the appropriate flow characteristics and gas opening and gas closing form of the regulating valve combined with the actual technological process and medium characteristics. | 2 | Comprehension Application |
|  | 5.2 Electric actuator | Understand the working principle and characteristics of electric actuator. | 1 | Comprehension |
|  | 5.3 Electric-gas converter and electric-gas valve positioner | Understand the working principle of mechanical valve positioner and role. | 1 | Comprehension |
| Chapter 6 Simple process control system | 6.1 Structure and composition of a simple control system | Understand the definition and structure of simple control system; Understand simple adjustment process of the control system; Understand the control process applicable to simple control systems. | 0.5 | Comprehension |
|  | 6.2 Control scheme design | Master the selection principle of controlled variables; Mastering the manipulated variable selection method; Understand the effects of measuring element characteristics of control process; Master the selection principle of control law. | 1 | Comprehension Application Comprehensive Analysis |
|  | 6.3 Controller parameter tuning | Understand the tuning process of common engineering tuning methods. | 0.5 | Comprehension |
| Chapter 7 Complex process control system | 7.1 Cascade control | The structure and working process of cascade control system; Design of cascade control system; Industrial application of cascade control system. | 2 | Comprehension Application |
|  | 7.2 Ratio control | Common ratio control scheme; Design and setting of ratio control system. | 1 | Comprehension Application |
|  | 7.3 Feedforward control | Related concepts of feedforward control system; The structure of feedforward control system; Industrial application of feedforward control system. | 1 | Comprehension Application |
|  | 7.4 Split range and selection control | Principle of split range control system; Industrial application of split range control. | 1 | Comprehension Application |
| Chapter 8 New process control system | 8.3 Other advanced control systems | Understand the concept of expert control system; Understand the structure of fuzzy control system; Learn about the potential applications of machine learning in chemistry. | 1 | Comprehension |
| Chapter 9 computer-control system | 9.1 Overview | The composition of DCS. | 0.5 | Comprehension |
|  | 9.2 DCS field control station | The standard algorithm module of DCS is introduced; Logic and sequence control. | 0.5 | Comprehension |
|  | 9.3 Operator station and engineer station of DCS | Functions of operator station and engineer station; Operator station and engineer station software. | 1 | Comprehension |

V. Teaching Method

This course adopts the teaching methods of classroom teaching, self-study, experiment and discussion, so as to achieve the learning objectives of teachers' intensive teaching and students' extensive learning and more practice. It explains the chemical engineering process related process control, emphasizes the integration of theory with practice, and focuses on cultivating students' ability to solve practical engineering problems.

VI. Evaluation

The total score is 100 points, 60% of which are final open book examination and 40% are process evaluation.

The results of process evaluation include classroom attendance and quizzes, homework,, etc.

VII. Textbook and Reference

(1) Textbook

- 《Chemical instrumentation and automation》, 6th Edition, edited by Li Yuming, Chemical Industry Press, May 2019, ISBN: 978-7-122-33334-6.

(2) Reference

《Process equipment control technology and application》, Wang Yi, chemical industry press, 2018, 3rd Edition.