《现代仪器分析》教学大纲

一、基本信息

| 课程名称：现代仪器分析 | 英文课程名称：Instrumental Analysis and Experiment |
| --- | --- |
| 课程代码：160305T047 | 总学分：2.0 |
| 总学时：32 | 课内学时：32 |
| 实验学时：0 | 上机学时：0 |
| 开课学院：工学院 | 适用专业：化学工程与工艺、环境工程、能源化学工程等 |
| 课程性质：专业选修 | 先修课程：无机化学及分析化学、有机化学、物理化学 |

二、课程简介

《仪器分析与实验》是化学工程与工艺、环境工程、能源化学工程等专业的一门专业基础课。本课程的任务是通过各种教学环节，使学生对若干常用仪器分析方法的基本原理及仪器的构造有所了解，掌握基本的实验技能；培养严谨的科学态度，良好的实验素质以及综合的分析问题和解决问题能力，为以后学习专业知识，从事专业工作和科学研究打下良好的基础。

三、教学目标

要求学生对仪器分析这一领域有较全面的认识，对若干常用仪器分析方法（紫外-可见吸收光谱法、红外光谱法、电位分析、气相色谱法、高效液相色谱法、质谱法等）的基本原理能充分掌握；对仪器的基本构造、特点和应用范围基本掌握；要求学生了解仪器分析发展的新方法、新动向，从而在解决实际问题时具有会选择适宜测量方法及初步谱图解析的能力。

四、教学内容与学习要求

（可按章节顺序或教学单元顺序编写，要详细说明具体教学内容、教学重点和难点，应清楚地表达知识、技能的范围和深度，充分反映课程的知识和技能要求，体现课程特点。）

| 章节/教学单元 |  | 教学内容、重点、难点 | 学时 | 学习要求 |
| --- | --- | --- | --- | --- |
| 第一章 仪器分析导论 | 1.1绪论 | 1 什么是仪器分析 2 如何学习仪器分析 | 1 | 理解 |
| 第九章 紫外-可见吸收光谱分析 | 9.1 光谱及紫外-可见吸收光谱 (UV-Vis)以及分光光度计结构 | 1光谱分析法导论 2紫外-可见吸收光谱(UV-Vis) | 1 | 记忆 理解 |
|  | 9.2有机化合物吸收光谱特征及无机化合物吸收光谱特征 | 3有机化合物的紫外吸收光谱 4无机化合物的紫外及可见光吸收光谱 5影响紫外吸收的因素 | 2 | 记忆 理解 应用 |
|  | 9.3影响紫外吸收的因素及紫外吸收光谱的应用 | 6 紫外及可见光分光光度计 7紫外吸收光谱的应用 习题 | 2 | 记忆 理解 应用 综合分析 |
| 第十章 红外吸收光谱分析 | 10.1 红外光谱概述及基本原理 | 1红外光谱分析概述 2红外光谱的产生条件 3分子振动方程 4分子振动的形式 5红外光谱的吸收强度 6影响基团吸收频率的因素 | 2 | 记忆 理解 应用 |
|  | 10.2 红外吸收光谱与分子结构的关系 10.3 红外光谱仪结构、样品制备 | 7红外吸收光谱与分子结构的关系 8 红外光谱仪结构及样品制备 | 2 | 记忆 理解 应用 |
|  | 10.4红外光谱应用 | 9红外光谱应用 习题 | 1 | 记忆 理解 应用 综合分析 |
| 第四章 电位分析法 | 4.1 电化学概述、电位分析法原理及离子选择性电极 | 1电化学分析法概要 2电位分析法原理 3离子选择电极与膜电位 4离子选择性电极的种类和选择性 | 2 | 记忆 理解 应用 |
|  | 4.2 离子选择电极的应用 | 5离子选择电极在电位分析法的应用 6离子选择电极在电位滴定法的应用 习题 | 2 | 记忆 理解 应用 综合分析 |
| 第二章 气相色谱 | 2.1 色谱概述 | 1色谱法概述 | 1 | 记忆 理解 应用 |
|  | 2.2色谱分离基本理论及条件选择 | 2色谱分离基本理论 3色谱分离条件及固定相的选择 | 2 | 记忆 理解 应用 |
|  | 2.3 气相色谱系统及应用 | 4气相色谱系统 5气相色谱检测器 6 色谱定性定量分析 7 气相色谱在石油石化领域的应用 8* 毛细管柱气相色谱法 习 题 | 2 | 记忆 理解 应用 综合分析 |
| 第三章 高效液相色谱分析 | 3.1 液相色谱概述、原理及仪器系统 | 1高效液相色谱法概述 2基本理论和条件选择 3高效液相色谱法的主要类型及其分离原理 4 液相色谱法固定相和流动相 | 2 | 记忆 理解 应用 |
|  | 3.2液相色谱固定相流动相的选择以及其他色谱 | 5高效液相色谱仪器系统 6*超高效液相色谱 7*超临界流体色谱法 8* *制备型液相色谱简介 习题 | 2 | 记忆 理解 应用 综合分析 |
| 第十四章 质谱分析 | 14.1 质谱原理及仪器组成 | 1质谱分析概述 2质谱仪器原理 3质谱仪组成 | 2 | 记忆 理解 应用 |
|  | 14.2 质谱图及其应用 | 4质谱图及离子峰的主要类型 5常见有机化合物的质谱 6质谱定性定量分析 7色谱－质谱联用技术 习题 | 2 | 记忆 理解 应用 综合分析 |
| 第十三章 核磁共振波谱分析 | 13.1 核磁共振原理及核磁共振波谱仪结构 | 1核磁共振原理 2化学位移及其影响因素 3自旋偶合及自旋裂分 | 2 | 记忆 理解 应用 |
|  | 13.2 核磁共振波谱仪应用及谱图解析 | 4一级谱图解析 5 核磁共振波谱仪 6 核磁共振波谱仪应用 7 13C核磁共振谱 习题 | 2 | 记忆 理解 应用 综合分析 |

注：在“学习要求”一栏补充选项，可以多选，无要求可不填，也可自定要求。记忆，指能从记忆库中找到相关的知识、概念、术语或材料与当前的信息进行比较、确认，能记住并能不加理解的列出、描述这些知识、概念、术语或材料；理解，指能对所学的内容作归纳、分类、解释、总结、推断和一定程度的发挥；应用，指能选择正确的程序应用、实施所学到的内容，并能进行必要的计算或决断；综合分析，指能将所学的内容分解并找出它们的相互关系和构成，或能计划、创造、建造、有改变的重构，或能作评论、总结、估计、预测、评估、论证和答辩。

五、考核方式

总评成绩=0.1*考勤+0.2*作业+0.1*中期检查+0.6*结课考核成绩

六、教材与参考书

（一）教材

- 仪器分析（第五版），胡坪 王氢编，高等教育出版社，2019年。

- 仪器分析（第四版），朱明华编，高等教育出版社，2010年。

（二）参考书目或文献

- 《分析化学（仪器分析部分）第三版，高等教育出版社，2010年。

2、基础化学实验（下册），吴肇亮等主编，北京：石油工业出版社，2003年。

3、仪器分析，武汉大学化学系编，高等教育出版社，2001年。

4、仪器分析教程（第二版），北京大学化学系编，北京大学出版社，2004年。

5、仪器分析实验（第二版），张剑荣编，科学出版社，2009年

|  | 制定人： |
| --- | --- |
|  | 审核人： |
|  | 制（修）订时间：2024年8月 |

《Instrumental Analysis and Experiment》Syllabus

I. Basic Information

| Course Name: Instrumental Analysis | Name in Chinese: 现代仪器分析 |
| --- | --- |
| Course No.: 160305T047 | Total Credits: 2.0 |
| Total Hours: 32 | Lecture Hours: 32 |
| Lab Hours: 0 | Computer Lab Hours: 0 |
| Offering College: College of Engineer | Corresponding Majors: College of Engineer、Environmental engineering、Energy chemical engineering |
| Course Type: Major Elective Course | Prerequisite: Inorganic and Analytical Chemistry, Organic Chemistry, Physical Chemistry |

II. Course Introduction

Instrumental analysis and experiment is a professional basic course in chemical engineering, technology and environmental engineering. The task of this course is to make students understand the basic principles and the construction of some commonly used instrumental analysis methods, master the basic experimental skills, cultivate a rigorous scientific attitude, good experimental quality and comprehensive ability to analyze and solve problems, so as to learn professional knowledge for the future. It has laid a good foundation for professional work and scientific research.

III. Course Objective

Students are required to have a comprehensive understanding of the field of instrumental analysis, to have a good grasp of the basic principles of several commonly used instrumental analysis methods (ultraviolet-visible absorption spectroscopy, infrared spectroscopy, nuclear magnetic resonance, potentiometric analysis, gas chromatography, high performance liquid chromatography, mass spectrometry, etc.), and to have a good understanding of the basic structure and characteristics of the instrument. The students are required to understand the new methods and trends of instrumental analysis, so that they can choose suitable measurement methods and preliminary spectral analysis when solving practical problems.

IV. 	Contents of Labtorary and Hours Allocation Table

| Chapter/Unit |  | Contents and Key Points | hrs | Requirements |
| --- | --- | --- | --- | --- |
| Chapter 1 Introduction | 1.1 Introduction | What is instrumental analysis methods and how to study it | 1 | Comprehension |
| Chapter 9:Ultraviolet absorption spectrum analysis | 9.1 Introduction of spectroscopy and Structure and application of Ultraviolet and visible spectrophotometer | 1 introduction of spectroscopy 2 Ultraviolet and visible spectrophotometer 3 Application of ultraviolet absorption spectroscopy | 2 | Memory Comprehension Application |
|  | 9.2 molecular absorption spectroscopy 、UV and visible absorption spectra of organic compounds and effects of agents on UV absorption spectra | 4 molecular absorption spectroscopy 5 ultraviolet absorption spectra of organic compounds | 2 | Memory Comprehension Application |
|  | 9.3 UV and visible absorption spectra of inorganic compounds and effects of agents on UV absorption spectra | 6 UV and visible absorption spectra of inorganic compounds 7 Effects of agents on UV absorption spectra | 1 | Memory Comprehension Application Comprehensive Analysis |
| Chapter 10: Infrared absorption spectroscopic analysis | 10.1 Introduction of IR and conditions for the generation of IR | 1 infrared (IR) absorption spectroscopic analysis 2 conditions for the generation of infrared absorption spectra 3 molecular vibrational equation | 1 | Memory Comprehension Application |
|  | 10.2 characteristic and frequency of infrared spectra and factors，Structure and application of IR | 4 the form of molecular vibration 5 absorption intensity of infrared spectrum 6 characteristic and frequency of infrared spectra 7 infrared spectrometer and preparation of samples | 2 | Memory Comprehension Application |
|  | 10.3 application of IR and factors affecting the frequency shift of different groups | 8 application of infrared spectrometer 10 factors affecting the frequency shift of different groups Exercises | 2 | Memory Comprehension Application Comprehensive Analysis |
| Chapter 4: Potential analysis | 4.1 Introduction, theoretical basis of potentiometric method | 1 introduction of Electroanalytical Chemistry 2 principle of potential analysis 3 determination of pH by potentiometric method 4 ion selective electrode and membrane potential 5 selectivity of ion selective electrode | 2 | Memory Comprehension Application |
|  | 4.2 Kinds, performance and application of ion selective electrodes | 6 kinds and properties of ion selective electrodes 7 method of determining ionic activity (concentration) 8 factors affecting measurement 9 test instruments 10 application of ion selective electrode analysis 11 potentiometric titration 12 application of potentiometric titration and selection of indicator electrode exercises | 2 | Memory Comprehension Application Comprehensive Analysis |
| Chapter 2: Gas chromatographic analysis. | 2.1 Introduction of chromatography | 1 gas chromatography 2 theoretical basis for gas chromatography separation-1 | 1 | Memory Comprehension Application |
|  | 2.2 Theoretical basis and separation conditions for gas chromatography separation | 2 theoretical basis for gas chromatography separation-1 3 chromatographic separation conditions and choice of stationary phase | 2 | Memory Comprehension Application |
|  | 2.3 System and applications of gas chromatography | 4 gas chromatography system 5 gas chromatography detector 6 qualitative and quantitative analysis methods of gas chromatography 7 characteristics and applications of gas chromatographic analysis Exercises | 2 | Memory Comprehension Application Comprehensive Analysis |
| Chapter 3: HPLC analysis | 3.1 Introduction, theoretical basis and separation conditions of HPLC. | 1characteristics of high performance liquid chromatography (HPLC) 2 theoretical basis of HPLC 3 the main types and their separation principles of HPLC. 4 stationary phase and mobile phase of HPLC | 2 | Memory Comprehension Application |
|  | 3.2 System and applications of | 5 system of HPLC 6 characteristics and application of HPLC 7 ultra performance liquid chromatography 8 supercritical fluid chromatography Exercises | 2 | Memory Comprehension Application Comprehensive Analysis |
| Chapter 14: Mass spectrometry | 14.1 Introduction, principle and structure of mass spectrometry analysis | 1 overview of mass spectrometry analysis 2 principle of mass spectrometry instrument 3 structure of mass spectrometry instrument | 2 | Memory Comprehension Application |
|  | 14.2 Mass spectra and application of mass spectrometry instrument | 4 types of ions and mass spectra 5 Qualitative analysis and quantitative analysis of mass spectrometry 6 GC-MS, LC-MS and MS-MS exercises | 2 | Memory Comprehension Application Comprehensive Analysis |
| Chapter 13 Nuclear magnetic resonance spectroscopy analysis | 13.1 Introduction and principle of nuclear magnetic resonance (NMR) | 1 Principle of nuclear magnetic resonance (NMR) 2 NMR spectrometer 3 shift and NMR spectra 4 spin coupling and spin splitting | 2 | Memory Comprehension Application |
|  | 13.2 Structure and application of nuclear magnetic resonance (NMR) | 5 Analysis of first order spectrum 6 high level spectrogram and method of simplified spectrum 7 13C NMR spectra exercises | 2 | Memory Comprehension Application Comprehensive Analysis |

V. Evaluation

Regular Score: 10%

Homework: 20%

Mid-term Check：10%

Final Examination: 60%

VI. Textbook and Reference

1、Textbook

（1）、Instrumental analysis (Fifth Edition), Hu Ping Wang Qing ed. Higher education press, 2019.

（2）、Instrumental analysis (Fourth Edition), Zhu Minghua et al. Higher education press, 2010.

2、Reference

(1).Analytical Chemistry (Instrumental Analysis) Third Edition, higher education press, 2010.

(2).Basic chemistry experiment (second volume), Wu Zhaoliang et al. Editor: Beijing: Petroleum Industry Press, 2003